| Document Title: Engineering Notebook |  |  |
| --- | --- | --- |
| Document #: EGN 001 | Revision #: 01 | Previous Doc/Rev #: N/A |

| Student | Sarah Krishnamoorthy |
| --- | --- |
| Project | Kids OR + Public Invention |
| Role(s) | Software and Systems Engineering |
| Mentor(s) | Dr. Robert Stone Dr Robert Read Mr. Dave Tipping Ms. Courtney Luddick Dr. Ashley Taylor |
| Team | Sarah Krishnamoorthy Brooke Struyk Kaayla Osborne Rachel Mensah |
| Instructor(s) | Dr. Christopher Arena, Dr. Ashley Taylor, Dr Robert Stone |
| TA(s) | Ali Stibler Evan Diacoumis Leah Van Gelder |

<You can continue to add to this file throughout the year. Use blue and/or highlighted text to indicate new entries for a given assignment submission>

TABLE OF CONTENTS

Timesheet	2

Summary of Individual Effort	4

Accomplishments	4

Action Items	4

Personal Challenges and Professional Growth (self-awareness)	4

Team Dynamics	4

Additional notes for instructor/TA	5

Individual Meeting Minutes	5

Meeting Title	5

Meeting Title	5

Meeting Title	6

Literature Review	6

1. Article/Patent/Standard/FDA Guidance Doc Title	6

2. Article/Patent/Standard/FDA Guidance Doc Title	7

3. Article/Patent/Standard/FDA Guidance Doc Title	7

Individual Design Updates	7

Subheader 1	8

Subheader 2	8

Subheader 3	8

References	8

# Timesheet

<The expectation is for each team member to complete 10 hours of work per week on the project, including regular class time. It is expected that a majority of the material documented in your engineering notebooks goes beyond what has already been captured in individual (or team) assignments. The honor code is in effect. Share this document, and your DHFs, with your team and advisors. They will be responsible for part of your grade at the end of the semester. The notebook will be regularly checked by the Instructors/TAs.>

### Table 001-1 Timesheet

| Name | Week | Hours Worked Including Class | Responsibilities | Student Signature | Instructor/TA Initials |
| --- | --- | --- | --- | --- | --- |
| Sarah Krishnamoorthy | 1 | (5+ hours for week 1) | Attended lectures on 8/25 and 8/27 (around 2.5 hours). Chose desired project and gain initial understanding of the problem (around 2.5 hours). |  |  |
|  | 2 | (10+ hours each week thereafter) Example: 10 hours total (2.5 hours in-class; 7.5 hours outside of class) | Attended lectures on 9/1 and 9/3 (2.5 hrs). Completed assignments on Job Maps and Theoretical and Numerical Analysis, and applied the readings to the Kids OR project (2.5 hours). Discussed responses with team in class to compare Job Map and Theoretical/Numerical Analysis responses. Began preliminary literature review to further gain an understanding of the problem. Learned more about how anesthesia is typically administered and what the breakdown could be in the presented problem (2.5 hours). Read provided githubs of Dr. Read’s research to prepare for introductory meeting (1.5 hour). Began looking at COMSOL tutorials as well as potential parameters required for modeling potential solutions (1 hr). |  |  |
|  | 3 | 10 hours | Attended lectures on 9/8 and 9/10 (2.5 hrs). Worked on HOQ Reading Reflection assignment to better understand the User needs and design inputs of the problem (1.5 hours). Further continued reading online about common workflows (1.5 hours) and looked for potential interviewees for stakeholder/user need interviews (1 hr). Met with Design Team in Collegiate on 9/9, to assign engineering roles, questions for scheduled Dr. Read interview, potential interview candidates, divvy up DH001 parts, and create a 60 second pitch slide for class (2.5 hrs). Met with Dr Read Thursday 9/10 as an introductory meeting and to further gain any additional understanding of problem, problem scope, or background information (1 hr). |  |  |
|  | 4 |  |  |  |  |
|  | 5 |  |  |  |  |
|  | 6 |  |  |  |  |
|  | 7 |  |  |  |  |
|  | 8 |  |  |  |  |
|  | 9 |  |  |  |  |
|  | 10 |  |  |  |  |
|  | 11 |  |  |  |  |
|  | 12 |  |  |  |  |
|  | 13 |  |  |  |  |
|  | 14 |  |  |  |  |

“As a Hokie, I will conduct myself with honor and integrity at all times.  I will not lie, cheat, or steal, nor will I accept the actions of those who do.”

# Summary of Individual Effort

<Complete this section individually with each new submission to prepare for team meetings.>

## Accomplishments

- What did you get done over the past 2-3 weeks? Progress on action items? What helped you move forward? A good target is 3 meaningful accomplishments per week.

These past few weeks I have read through Dr. Read’s research (provided via Githubs), begun reaching out to potential interviewees, and begun literature review. I believe that our meeting with Dr. Read was especially insightful and helpful to further understand how to attack the problem.

## Action Items

- What are you personally responsible for over the next 2-3 weeks and what are the due dates?

- A good target is 3 meaningful action items per week.

- Use terminology that is Specific, Measurable, Achievable, Relevant, Time-bound (SMART)

My first action item is to create a public GitHub so Dr. Read and Kids OR are able to easily access. The GitHub will have folders specific to DHFs, Engineering Notebooks, and Lit Review, so our mentors are able to easily access the GitHub and understand what they’re looking at. The README will also contain information about what each folder contains.

My other action items are to find my interviewee and actually conduct the interview the week of 9/14. I will reach out to Dr. Napolitano, a doctor I met through the Loudoun Free Clinic who is familiar with working in low-resource settings both in the United States and abroad.

## Personal Challenges and Professional Growth (self-awareness)

- What have you found to be technically challenging? What risks are ahead?

- Explain how you are trying to grow as a professional and engineer in the project.

I think in general this project will be technically challenging for me. With the exception of coding, much of this project is in areas that I am not the most comfortable in. To remedy this, I will be rereading notes from the Bioinstrumentation course to ensure I have a deeper understanding of topics as well as looking at similar problems to understand how coding/modeling was done. Additionally, looking at similar problems in publication can help me better understand the interactions between the mechanical, electrical, coding, and modeling.

## Team Dynamics

Try each of these retrospective tools to learn what works well for your team. Bring your individual responses to the team meetings and make time to discuss and document them as a group.

- Submission 1 - SWOT

  - Strengths of team? E.g., leadership, culture, collaboration, inclusion, planning, habits...

I think we all have different strengths which leads to a team culture of open collaboration. For example, when creating our 60 second pitch, each team member had different ideas. When all ideas were incorporated, we had created an impactful and insightful pitch.

  - Weaknesses of team?

Our biggest team weakness is our schedule. Our schedules vary so much, however, with good and constant communication, this can be an easily surmountable problem.

  - Opportunities for the team?

Two team members will be speaking to Kids OR team in the next week, which will help us better understand the exact issues from those directly on the ground.

  - Threats to the team?

Given scheduling conflicts within the team and mentor team, our initial introductory meeting with Dr. Read was later than we would have liked. This causes a tight, but still manageable deadline for DHF001 as long as we stay on track.

- Submission 2 - 4 L’s

  - What did you Like?

  - What did you Learn?

  - What did you Lack?

  - What did you Long-for?

- Submission 3 – KALM

  - Keep: Something the team is doing well and should continue doing?

  - Add: Something new that the team should incorporate into the next 2-3 weeks?

  - More: Something that brings value to the team, and you should do more of?

  - Less: Something that isn’t going as well, and you should do less of?

- Submission 4 – You pick!

## Additional notes for instructor/TA

- Any general comments or questions?

- Would you like to request a meeting? Please email Dr. Arena (carena@vt.edu).

# Individual Meeting Minutes

<Document the team’s discussion during formal meetings with advisors, sponsors, subject matter experts (SMEs), or each other, etc. as it relates to your personal perspectives. Be reflective and document your own responsibilities, insights, rationales, methods, and analyses. Pay particular attention to laboratory safety (e.g., lab safety practices, product/service safety considerations, and safety regulations related to design).>

<Only the team leader should be responsible for providing a summary of what the other group members are working on. We DON'T want to see repeated information here across team members.>

## 9/10 Senior Design Team Meeting

- Attendees: Sarah Krishnamoorthy, Brooke Struyk, Kaayla Osborne, Rachel Mensah

- Date and Time: 9/10, 6:30-8:30 PM.

- Format: In-person at the Virginia Tech BME Collegiate office.

- Individual notes: We assigned engineering roles, I will be in charge of software and systems engineering. We also wrote down a bunch of questions for our interview with Dr. Read and Public Invention on 9/10, trying to utilize an open-ended format to just hear what Dr. Read had to say. Additionally, the team talked about divvying up DHF001, finding potential interview candidates, and created a 60 second project pitch.

## Senior Design Team & Dr. Read Introduction

- Attendees: Sarah Krishnamoorthy, Brooke Struyk, Kaayla Osborne, Rachel Mensah, Dr. Robert Read, Dr. Robert Stone, and Dr. Ashley Taylor

- Date and Time: 9/10, 3:30-4:30

- Format: Zoom

- Individual notes: Key things:  We should focus on functional decomposition and modularity of our system.

- Dr Rob would prefer emails for definite and burning questions.

- Dr. Rob would prefer GitHub

- Introductory Background: Dr. Read has previously completed seven similar projects for Rice University. The project’s purposes:

- Help Kids OR create safer pediatric operating rooms (ORs).

- Support the students’ (Design Team) educational and professional goals.

- Public Invention can help provide continuity after the current design team completes work, this is why the project was chosen to be open source.

- An anesthesia machine has an open circuit system, where excess and waste gases can leave. This is collected by the scavenging system and is carried out of the OR.

- Dr. Read was thinking of connecting the machine to tubing that conducts gas outside of the container? Perhaps with a small fan. Consider using a sensor, connected to a microcontroller, should be automatic and require little attention from medical staff.

- Kids OR Environment

- Kids OR primarily operates in Africa, and low-resource regions all around the world.

- An OR is made out of a shipping container, with art and other materials to make the environment more cozy for children

- A facility may perform approximately 10-20 pediatric surgeries daily, both routine and more complex procedures.

- The anesthesia machines used are not different to those in the US, but the issue comes from a lack of ventilation and built-in anesthetic gas scavenging systems.

- Many Kids ORs have independent solar-panels. Electricity is available but is inconsistent and unreliable, as they are often not connected to the local electric grid (which may also be unstable).

- Current Problem

- Only 1 in 10 Kids OR rooms have a gas scavenging system. Throughout a day of surgery, medical personnel report drowsiness and wooziness, suggesting exposure to waste anesthetic gas

- Typically, the child inhales the anesthesia and exhales gas that still contains some anesthetic. The problem? Without a gas scavenging system, these small amounts of WAGs are being released into the OR directly.

- We are limited by space, electrical power, ventilation inside container, and tripping hazards

- Constraints/Challenges

- In anesthesia machines, there are only partially sealed suction fans. This partial sealing is to prevent excess pressure on the breathing circuit and lungs. Our solution cannot use excess or too powerful suction, or we risk patient endangerment.

- Chemically scrubbing or destroying the anesthetic gas may not be the main priority or the simplest way to combat the problem.

- According to Dr. Robert, the environmental effects of gas release outdoors is minimal compared to the exposure risk in the OR. This is something the team will further verify and explore!

- The tubing to carry the waste gas out of OR can be a complicated part of the design problem! We must avoid causing any serious tripping hazard in the OR, and given that the Kids OR is made out of a shipping container, we may not be able to build the tubing into the floor, wall, or ceiling (as is typically done). A solution cannot cause a major change to the OR.

- Ensure modularity: This is so if the system breaks, repair is simple and easy, as well as design improvements!

- Low cost, accessibility, reliability, and compatibility

- Potential Questions for Kids OR Team

- What parameters control the required gas flow rate through the scavenging system?

- What is the typical flow rate of waste gas leaving the anesthesia machine?

- How should the system respond if adequate airflow is not present or waste gas is detected in the room (i.e. what is the ideal response)?

- Are there anesthesiologists, surgeons, or other medical personnel who have worked inside KidsOR facilities and could be interviewed about the workflow and exposure problem?

- What do the rooms for Kids OR look like?

- Is there a preventative maintenance procedure already being followed for this?

- What type of anesthetic gas is being used?

- Meeting Title

- Attendees:

- Date and Time:

- Format:

- Individual notes:

- Team Discussion (team leader only):

  - Highlight key points during the meeting, including content presented, accomplishments, individual action items/plans, responsible parties, impediments/issues, etc.

# Literature Review

<It is expected that each team member will read and summarize three new pieces of literature with each new submission! Keep track of the total number below by incrementing the header. You can choose from peer-reviewed, scientific articles (https://scholar.google.com/), patents (https://patents.google.com/), engineering standards (request from Dr. Arena ahead of time if not accessible through VT or ANSI), or FDA guidance documents (https://www.fda.gov/regulatory-information/search-fda-guidance-documents#guidancesearch ). Do NOT use literature that was separately assigned for homework.

Note: AI should serve as a collaborator, not a replacement, for your own critical thought and skills. The intellectual contribution and design decisions must remain your own. AI tools may lack direct access to Google Scholar/Patents and the most recent literature. Additionally, AI-generated content can be inaccurate, biased, or incomplete. Therefore, it is up to you to identify the key pieces of literature for your project. AI can be used to support the Summary of Key Findings section, but you should verify the accuracy of the content and that nothing from a piece of literature was overlooked. Please cite the AI tool used, the prompt that you provided, and your analysis of, or updates to, the content. The other sections should be completed without the use of AI.>

## 1. Article/Patent/Standard/FDA Guidance Doc Title

### Source Authors, Journal, Date, Affiliation

< This section should be 1-2 sentences in length. >

### Summary of Key Findings

<This section should be 4-6 sentences in length.>

### Application to Design Project

< This section should be 3-5 sentences in length. Discuss the importance relative to your design project. What was learned and what can be implemented or adapted for your purposes?>

### Specific Information for the Design project

<Use a bulleted list! Include details on items that you will likely refer back to in the future. For example, actual data or statistics, equipment used (make/model), testing or analysis methodology, etc.>

## 2. Article/Patent/Standard/FDA Guidance Doc Title

### Source Authors, Journal, Date, Affiliation

< This section should be 1-2 sentences in length. >

### Summary of Key Findings

<This section should be 4-6 sentences in length.>

### Application to Design Project

< This section should be 3-5 sentences in length. Discuss the importance relative to your design project. What was learned and what can be implemented or adapted for your purposes?>

### Specific Information for the Design project

<Use a bulleted list! Include details on items that you will likely refer back to in the future. For example, actual data or statistics, equipment used (make/model), testing or analysis methodology, etc.>

## 3. Article/Patent/Standard/FDA Guidance Doc Title

### Source Authors, Journal, Date, Affiliation

< This section should be 1-2 sentences in length. >

### Summary of Key Findings

<This section should be 4-6 sentences in length.>

### Application to Design Project

< This section should be 3-5 sentences in length. Discuss the importance relative to your design project. What was learned and what can be implemented or adapted for your purposes?>

### Specific Information for the Design project

<Use a bulleted list! Include details on items that you will likely refer back to in the future. For example, actual data or statistics, equipment used (make/model), testing or analysis methodology, etc.>

# Individual Design Updates

<This section is your electronic design notebook. Include sketches, photos, engineering drawings, equations, calculations, tables, graphs, observations, etc. Focus on your narration of the design process. For example, your discussion of trainings that you complete and the outputs and/or challenges of that training process (e.g., COMSOL tutorial results, CAD training results, etc.). Be sure to describe each item in detail with explanatory text so that it is easy to understand when reviewing. It is up to you on how to effectively organize the section headers. Include any notes about updates to User Needs (UN), Design Inputs (DI), Design Outputs (DO), Design Verification (VER), and Design Validation (VAL). There should be at least 3 new pages with each new submission. In select cases, you may paste and circle individual items from your Mural or Miro team boards and describe your contribution in the text below. However, most of the content in this section should be your individual work. Make sure that the font size is large enough to be legible, including within figures. However, a majority of the 3 pages (>=1.5 pages) should be your own descriptive text or narration of the design process. Additionally, it is expected that a majority of the content (>= 1/2) is new or expands beyond what was completed as part of other assignments, such as reading reflections and DHF’s. If you include items from a prior individual assignment, please note that in bold/red and expand your discussion.>

## Subheader 1

<Insert text.>

## Subheader 2

<Insert text.>

## Subheader 3

<Insert text.>

# References

<Insert a numbered list of peer-reviewed references that are cited in-text using IEEE format.>